## RM&D Lifts
RM&D Solution Provider | PTO Lift ID | Lift Name | Lift Type | Lift Manufacturer | Lift Model | Rated Load (kg) | Rated Speed (m/s) | Date of Installation of RM&D Solution
XYZ | L1324 | A-10 | Passenger Lift | Manu A | Model X | 1000 | 5 | 2024-01-01

## Datahub
PTO Lift ID | Event Start Date | Event Start Time | Event End Date | Event End Time | Event Type | System | Event Description | Action Type | Action Description | Parts Replaced (if any) | Done By | Type of Visit | Type of Fault | Remarks
L1324 | 2022-08-25 | 16:00 | 2022-08-25 | 17:30 | Servicing |  | 3 Monthly Servicing |  |  | Safety Switch | Tan
L1324 | 2022-09-02 | 17:00 |  |  | RM&D Notification | Car | fan power supply fluctuation
L1324 | 2022-09-02 | 20:00 | 2022-09-03 | 20:15 | RM&D Intervention | Car | LHS fan not working | Replaced | Replaced lift car fan | Car Fan | Seng | True Intervention | Non-Technical
L1324 | 2022-09-13 | 13:25 | 2022-09-13 | 15:00 | RM&D Device Down | RM&D Solution |  | Reset | Reset solution
L1324 | 2022-10-05 | 14:00 |  |  | RM&D Notification | Machine | Abnormal machine vibration
L1324 | 2022-10-06 | 17:00 | 2022-10-06 | 17:30 | RM&D Intervention | Machine | Machine bearing worn-out | Checked | Lift stopped; Pending replacement |  | Lim | True Intervention | Technical
L1324 | 2022-10-08 | 12:00 | 2022-10-10 | 11:24 | Repair / Follow-up | Machine | Replace machine bearing | Replaced | Replaced machine bearing | Machine bearing | Tan
L1324 | 2022-10-28 | 11:00 |  |  | RM&D Notification | Landing Door | Landing door contacts opened
L1324 | 2022-10-28 | 11:30 | 2022-10-28 | 11:50 | Repair / Follow-up | Landing Door | Door panels damaged by forklift | Checked | Lift stopped; Pending parts to replace |  | Seng | True Intervention | Technical (External Factors)
L1324 | 2022-10-29 | 14:00 | 2022-10-29 | 17:00 | Repair / Follow-up | Landing Door | Replace landing door panel | Replaced | Replaced landing door panel |  | Seng
L1324 | 2022-11-08 | 17:30 | 2022-11-08 | 17:50 | Callback | Car | all lift car lights tripped due to faulty breaker | Replaced | replaced faulty breaker for car lights | Breaker | Lim | Not Detected | Non-Technical
L1324 | 2022-11-17 | 11:15 |  |  | RM&D Notification | Machine | Motor overtemp
L1324 | 2022-11-17 | 13:00 | 2022-11-17 | 15:00 | RM&D Intervention | Overspeed Governor | governor tension device slack switch triggered | Adjusted | shorten governor rope |  | Tan | False Intervention | Technical
L1324 | 2022-11-24 | 10:30 | 2022-11-24 | 12:00 | Servicing |  | 3 Monthly Servicing |  |  |  | Tan

## Amendment Records
S/N | Brief Description of Changes | Date of revision
1 | Revised template to streamline maintenance data submission and align with Datahub format | 2024-05-30

## Dropdown Options (hidden)
Event Type | System | Action Type | Type of Intervention | Type of Fault
Callback | ACOP | Checked | True Intervention | Technical
Repair / Follow-up | Brakes | Adjusted | False Intervention | Technical (External Factors)
RM&D Intervention | Buffer | Replaced | Not Detected | Non-Technical
RM&D Notification | Car | Repaired
RM&D Device Down | Car Door | Reset
Servicing | Controller | Cleaned
| Counterweight | Lubricated
EBOPS
Guide System
Landing Door
Levelling System
Machine
Others
Overspeed Governor
RM&D Solution
Rope/Belt
Safety Gear
UCMP